COB424	Ambiente Integrado para treinamento em controle de sistemas dinâmicos a eventos discretos / Integrated environment for training on control of Discrete Event Dynamic systems

Cristina Toshie Motohashi M. & Paulo Eigi Miyagi
Departamento de Engenharia Mecânica/Mecatrônica, Escola Politécnica da USP -  CEP:05508-900, São Paulo, SP, Brasil

E-mail: cristm@usp.br 	pemiyagi@usp.br

In academic environment, generally, dynamic systems are approached from the point of view of continuos variable dynamic systems (CVDS). Only in very special cases, the other class of dynamic systems, i.e., discrete event dynamic systems (DEDS) are considered. However, most of the large-scaled and complex man-made systems requires control systems based on the concept of DEDS. One of the problem is the lack of an effective tool for assimilation of fundamental concepts involved in DEDS. Without a practical experience it is very difficult to understand the idea of “events”, “conditions”,  “control object”, “control realization device”, etc. The existing didactic simulators and systems with programmable controllers are very limited to this goal because of their particularities. These tools do not consider a methodology for design of whole control systems neither a general technique to describe the control strategies. Therefore, we introduce an Integrated Environment for teaching and training of control systems for DEDS. The case of a manufacturing cell is used to exemplify the task of validation of control strategies developed in a systematic approach based on Production Flow Schema/Mark Flow Graph (PFS/MFG) technique.

Keywords: Discrete event dynamic systems, control system design, computer aided training system, PFS/MFG Methodology

Sistemas dinâmicos a eventos discretos, projeto de sistemas de controle, ferramenta para treinamento auxiliado por computador, metodologia MFG/PFS.