COB303	ANÁLISE DE REDES DE TUBULAÇÃO: DESENVOLVIMENTO DE INSTALAÇÃO EXPERIMENTAL E MODELAGEM MATEMÁTICA / ANALYSIS OF PIPELINE NETWORKS: DEVELOPMENT OF EXPERIMENT AND MATHEMATICAL MODELING

Jorge Andrey Wilhelms Gut, Tah Wun Song & José Maurício Pinto

Departamento de Engenharia Química, Escola Politécnica - USP - CEP 05508-900 São Paulo, SP Brasil - E-mail: jompinto@usp.br

An experiment on Fluid Mechanics for educational purposes regarding pipeline flows and pump association is designed. Also, a mathematical model for steady-state, isothermal flow of an incompressible fluid is developed. The model is especially suitable for extensive pipeline networks. The solution method for the system comprised of non-linear algebraic equations is based on the quasi-linearization technique. Simulation results are discussed.

Keywords: fluid mechanics, pipeline networks, educational experiment, pipeline modeling, quasi-linearization / mecânica dos fluidos, redes de tubulação, experimento didático, modelagem de redes de tubos, quasi-linearização