COB1145	MODELAGEM DE TURBINAS EÓLICAS CONTROLADAS PELO PASSO E POR “YAW” / WIND TURBINE PITCH AND YAW CONTROL MODELLING

Armando Medeiros

Grupo de Energia Eólica, UFPE/CTG/DEMEC - Av. Acad. Hélio Ramos, s.n. 50.740-530 Recife/PE, Brasil

Antônio M. N. Lima, Cursino B. Jacobina & F. J. Simões

UFPB/CCT/DEE - Av. Aprígio Velozo,882 -- 58.109-970 Campina Grande/PB, Brasil

This work presents the modelling of wind turbines operating above rated power. The new controller is designed to make the system operate close to the rated power by actuating on the blade pitch and on the yaw devices, simultaneously. Regarding the design of the controller, it is necessary to linearize the rotor torque function with respect to the rotor velocity, w, the pitch, q, and the yaw angle, d, around the steady state. The direction and velocity of the wind are considered random variables. Then, the closed loop representation of the wind turbine can be approximated, in the frequency domain, by a second order function. The optimal controller gain is also obtained by three different methods that lead to close results.

Keywords: Turbina eólica, Wind Turbine Pitch Control, Controle pelo passo da pá, Regulagem por “yaw”, Yaw Power Control.