COB1476	MÉTODO DE OBTENÇÃO DE UMA PRÓTESE EM SILICONE PARA TORACOSTOMIA / METHOD FOR PROSTHESIS PRODUCTION IN SILICONE FOR THORACOSTOMY

Helena T. T. Oyama, Marina J.S Maizato, Adolfo A. Leirner & Luis T. B. Filomeno*.

Divisão de Bioengenharia - InCor - HCFMUSP, Av. Dr. Enéas de Carvalho Aguiar,44 - Cerqueira César - São Paulo -CEP: 05403-000

E-mail: biohelena@incor4.incor.usp.br

*Divisão de Cirurgia Torácica e Cardiovascular - HC-FMUSP

This paper presents the design and construction of a thoracostomy silicone prosthesis. Its main utilization is in Clagett’s and modified Eloesser  thoracostomies and for the treatment of chronic and post-pneumonectomy empyemas. The prosthesis designed consists of a silicone tube corrugated and with one internal and one external flange to avoid  migration. It can be placed through  30 to 40 mm incision and resection of a segment of solely one rib, minimizing surgical trauma and resulting in a esthetically improved aspect, while maintaining adequate and continuous draining of the pleural space. Hitherto, the prosthesis was utilized in 20 patients subjected to thoracostomy with a  follow up period of 11 to 312 days. The results obtained suggest that its utilization presents many advantages in comparison to the traditional method utilized.

Keywords:  Chronic empyema, thoracostomy, thoracostomy prosthesis. / Empiema crônico, toracostomia, prótese de toracostomia.