COB60	Flow Visualization of Heart Valves Prostheses in a Steady Flow Model

Edson D.R. Vieira,  Éverton Dall’Agnol,  Emanuel R.Woiski,  Sérgio S. Mansur

Departamento de Engenharia Mecânica, Faculdade de Engenharia, UNESP - Ilha Solteira

CEP 15.385-000 Ilha Solteira - SP,  Brasil, E-mail: delrio@feis.unesp.br

Ricardo A. Mazza

Departamento de Energia, Faculdade de Engenharia Mecânica, UNICAMP, Campinas - SP, Brasil,

Marcos Pinotti

Departamento de Engenharia Hidráulica e Recursos Hídricos, Faculdade de Engenharia, UFMG, Belo Horizonte - MG, Brasil

Domingos M. Braile

Braile Biomédica Ind. Com. e Rep. S.A., São José do Rio Preto - SP, Brasil

Although prosthetic heart valves have been used successfully for many years, an ideal prostheses has not been developed yet. Since the major part of heart valve prostheses related complications are due to flow disturbances, valve hydrodynamic characterization is an useful aid in designing new prostheses. In the present report, flow visualization in steady state flow model has been employed to study flow disturbances occurring downstream two types of bioprosthesis (porcine and bovine pericardium) tested in the mitral position. Flow visualization is an important tool for prosthetic valves evaluation using simple and low cost facilities.

Keywords: Flow visualization; dye injection; cardiac bioprosthesis; heart valves testing; steady flow; visualização de escoamento; injeção de corante líquido; biopróteses cardíacas; teste de válvulas cardíacas; escoamento não-pulsátil.