COB1477	PRÓTESE VENTRICULAR IMPLANTÁVEL- PROJETO MECÂNICO / IMPLANTABLE VENTRICULAR PROSTHESIS-MECHANIC DESIGN

Marina J. S. Maizato, Milton S. Oshiro, Sérgio A.  Hayashida, Maria L. Lopes, Eucydes F. Marques, Gina H. Hamamoto, *Cecília A. C. Zavaglia &  Adolfo A. Leirner

Divisão de Bioengenharia do Instituto do Coração - HC FMUSP, Av. Dr. Enéas de Carvalho Aguiar, 44 - Cerqueira César - São Paulo(SP)- CEP: 05403-000, e.mail: biomarina@incor4.incor.usp.br

*Departamento de Engenharia Biomédica - UNICAMP

This paper describes the design of an implantable artificial ventricular assist device to support the heart as a bridge to heart transplantation, in patients with profound cardiac failure. The artificial ventricle presented has a free floating membrane, dividing two titanium carcass. The driving unit is pneumatic. Two silicone cannulae are used to conect the device to the patient’s heart (left ventricle apex to aorta). Each cannula is eqquiped with one bovine pericardium valve. A computer program (Microstation) was utilized to provide volumetric calculus, bidimensional and tridimensional visualization to optimize the design.  The results show perspectives for clinical utilization.

Keywords: Artificial  Ventricle, Mechanic Assist Circulation, Ventricular Assist Device, Artificial Organs, Artificial Implants, Temporary Assist Device. / Ventrículo Artificial, Assistência Circulatória Mecânica, Dispositivo de Assistência Ventricular, Órgão Artificial, Dispositivo de Assistência Temporária.