COB1479	APRESENTAÇÃO DE UM DISPOSITIVO PARA AVALIAÇÃO "IN VIVO" DE ADESIVOS ODONTOLÓGICOS EM ENSAIOS DE TRAÇÃO. /PRESENTATION OF A DEVICE TO EVALUATE DENTAL ADHESIVES "IN VIVO" BY TENSION TESTS.

Aparício Fiuza de Carvalho Dekon, Eduardo Carlos Bianchi, César Antunes de Freitas & Antonio Santa Rossa Neto

Departamento de Engenharia Mecânica, Faculdade de Engenharia e Tecnologia - UNESP

Rua Eng.  Luis Edmundo Carrijo  Coube s/n  Fone : (014) 230 - 2111 , Ramal 148  -  FAX : (014) 231-1718

Caixa Postal 473    E-mail :  bianchi@bauru.unsp.br, CEP 17033 - 360  Bauru, São Paulo, Brasil

The purpose of this study is to present a device designed to quantify the force required to remove orthodontic brackets directly in the oral environment. Elastic deformation caused by tension are transformed in electrical resistance variations by strain gauges placed in load cells. Electrical signs generated during the moviment are amplified by an amplifying bridge and the variations registered in an oscillograph. A previous calibration with difinite weights allowed the identification of the force required for removing the brackets bonded on dental enamel. The device was used to verify the "in vivo" performance of two bonding systems. One of them, the Orthodontic Concise (3 M - Brazil) based in composite resin, is widely used in Orthodontics being available since several years.  The other, Fuji Ortho LC (GC Corporation) an hybrid composite and glass ionomer adhesive, recently available. The results were mutually compared and analysed.

Keywords: Extensômetros, Adesão Ortodôntica, Força de Adesão  /  Strain gauges, Orthodontic bonding, Bond strength