COB506	MODELO PARA SINTETIZAÇÃO DE DADOS DE RADIAÇÃOSOLAR EM SEQÜÊNCIAS COM INTERVALOS DE 5 MINUTOS / METHOD FOR SOLAR RADIATION DATA SYNTHESIZING IN SEQUENCES WITH INTERVALS OF 5 MINUTES.

Arno Krenzinger

Departamento de Engenharia de Materiais / Grupo de Estudos Térmicos e Energéticos - PROMEC / Universidade Federal do Rio Grande do Sul, Rua Sarmento Leite, 425/208        CEP:90.050-170    Porto Alegre RS

This work presents a method to generate sequences of solar radiation data in intervals of 5 minutes with the use of a computer program. The data are generated starting from information of hourly horizontal global solar radiation values, date and local latitude. The method was developed with exclusive interest in simulations of solar systems being more important for photovoltaic applications than for water-heating simulating. It is very important that the frequency and the intensity of variation of the radiation have some similarity with measured data. The effort was concentrated in finding a simple method, that didn't demand many input data but that could correspond to a behavior waited as typical in most of the places. The results were compared with measured data and there was obtained very good agreement.

Keywords: Energia Solar,    Radiação Solar,    Seqüências de Dados,    Simulação de Sistemas Solares

Solar Energy, Solar Radiation, Meteorologic Data Sequences, Solar Systems Simulation