COB43	REPRESENTAÇÃO DOS SISTEMAS AUTOMÁTICOS DE CONTROLE E DE PROTEÇÃO DE ANGRA I / SIMULATION OF THE ANGRA I CONTROL AND PROTECTION SYSTEMS

Ronaldo C. Borges & Anibal N. Gebrim

Comissão Nacional de Energia Nuclear (CNEN), Coordenação de Reatores

Rua General Severiano 90 - Sala 419/A, 22294-900, Rio de Janeiro, RJ, Brasil, E-mail: ronaldo@cnen.gov.br  e  anibal@cnen.gov.br

The following automatic control systems for Angra I Nuclear Power Plant (NPP): rod control system, steam generator level control system, feedwater bypass valve control system, pressurizer pressure control system and pressurizer level control system and also the following protection system: overtemperature, overpower, pressurizer low pressure, pressurizer high pressure, pressurizer high water level, low primary coolant flow and low-low steam generator water level were simulated with the RELAP5/Mod2 code. The paper shows the results of three transients: a) a ten percent step load change, b) a five percent per minute ramp load change, and c) pump coastdown. Satisfactory quantitative and qualitative results were obtained when comparing these results with the “setpoint study” and FSAR results.

Keywords: Control System, Protection System, Nuclear Power Plant, Angra I, RELAP5/Mod2 Code

Sistema de Controle, Sistema de Proteção, Usina Nuclear, Código RELAP5/Mod2