COB826	ESTIMATIVA DO POTENCIAL DE CONSERVAÇÃO DE ENERGIA EM INTALAÇÕES DE BOMBEAMENTO/ ESTIMATE OF THE ENERGY POTENTIAL CONSERVATION IN PUMPING SYSTEMS

##### Edson da Costa Bortoni

DEE/UNESP - Universidade Estadual Paulista, CEP: 12500-000 Guaratinguetá - SP – Brasil - E-mail:bortoni@feg.unesp.br

##### Geraldo Lúcio Tiago Filho & Benedito Cláudio da Silva

DME/LHPCH/EFEI - Escola Federal de Engenharia de Itajubá, 37500-000 Itajubá - MG – Brasil - E-mail: tiago@iem.rmg.br

It’s unusual that a pumping sistem works with just one fixed condition of flow and pressure. The processes that work with centrifugal pumps have, in general, a variable consumption and in the case of necessity of changing the flow, in normal systems, is necessary to act in the control valve, which will change the sistem curve because of the introduction of adctional friction losses in the instalation. Meanwhile, it will cause a unnecessary energy consumption. Another way to change the flow of a pumping system is through the variation of the pump speed, using a variable speed driver that has less consumption of energy and presents a series of advantages over the throtting valve, due the agreement bettwen the pump caracteristics and the instalation caracteristics and the optimization of the project point. Based in this considerations, this work presents a methodology that permits to estimate the real saving energy potential in centrifugal pumps drived by constant speed electrical motors. It’s done through the determination and analysis of the grafic caracteristics, providing in this way, data for a viability economic analysis with less riscs and uncertainty.

Keywords: Conservação de energia, bombas centrífugas, instalações de bombeamento / Energy conservation, centrifugal pumps, pumping systems.