COB502	ANÁLISE TÉCNICA E ECONÔMICA DE SISTEMAS DE COGERAÇÃO PARA UM LATICÍNIO DE PEQUENO PORTE / A TECHNICAL AND ECONOMICAL ANALYSIS OF A COGENERATION SYSTEM FOR A SMALL LATICINIO PLANT

Antonio Pantalena, José Luz Silveira & Luiz Roberto Carrocci

Departamento de Energia, Faculdade de Engenharia Mecânica - UNESP - Guaratinguetá

CEP 12500-000 Guaratinguetá, Brasil - E-mail: joseluz@feg.unesp.br & carrocci@feg.unesp.br

In all part of the world, the necessary improvement of energy conservation and the search of new energy generation technologies became priority at the science,  in the engineering and for the government; usually having preoccupation with the future’s environment. Then, the rational utilization of the energy ware exited cogeneration’s technologies. In the last years are getting a great interesting by cogeneration system because the increase of the fuels cost, the hardness to get more efficiency at conventional thermoeletrics, the possibility of reduction of the energy costs like the increase of gain and competitively of your products in world market. This article can make an technical and economic analyzes of use of cogeneration’s systems of one  lacticinio small plant in the Vale do Paraíba area, state of São Paulo. This researches, looking for the utilization of steam and gas turbines. Both results of this economical analyses show models of two technologies turbines that supply gains.

Keywords: Análise Técnica e Econômica, Cooperativa de Laticínios, Cogeração, Custos de Produção de Vapor, Custos de Produção de Eletricidade, Technical and Economical Analysis, Laticinio Cooperative, Cogeneration, Productive Costs of Steam, Productive Costs of Electricity.