COB743	INTEGRATION OF BUILDING AIR FLOW MODELS OF DIFFERENT RESOLUTION

Cezar Otaviano Ribeiro Negrão

Departamento de Engenharia Mecânica - UFSC, Caixa Postal 476, CEP 88.040-900 Florianópolis, Brasil - E-mail: negrao@nrva.ufsc.br

Building air flow models, such as those derived from Computational Fluid Dynamics and fluid flow network are investigated and their deficiencies are identified. In the first, the air flow is defined in high resolution, allowing the evaluation of temperature and velocity gradients within enclosures. However, the boundary conditions cannot be well established. Although the later allows computation of air infiltration and ventilation for the entire building, air velocity, pressure and temperature are assumed uniform within spaces. A new modelling approach, which combines the two methodologies and reduces their shortcomings, is proposed. The potential of such technique is demonstrated by a case study.

Keywords: Building Air Flow Simulation, Computational Fluid Dynamics/Simulação de Fluxos de Ar em Edificações, Dinâmica dos Fluidos Computacional