COB321	PROJETO RÁPIDO DE TROCADORES DE CALOR DO TIPO CASCO E TUBOS / SHORT-CUT DESIGN PROCEDURE FOR TUBE-AND-SHELL HEAT EXCHANGERS

Roger J. Zemp e Cristiane Junqueira

Departamento de Engenharia de Sistemas Químicos, Faculdade de Engenharia Química, Unicamp   Caixa Postal 6066,  CEP 13083-970  Campinas SP, email:  zemp@desq.feq.unicamp.br

A new short-cut procedure for the design of tube and shell heat exchangers is presented. Departing from the energy balances, fluid properties and tube diameters/layout, the algorithm computes the main exchanger variables (pressure drops / area), and therefore can be used for the economic optimisation of the exchanger. The advantage of the procedure is that no detailed design is required, so that it can be used in projects where quick designs are required, like synthesis and design of pressure-drop constrained heat exchanger networks. A procedure to obtain a complete exchanger design, fully meeting the heat transfer requirements, based on the optimised conditions, is also proposed. Available pressure drops are fully utilised, leading to cost effective exchanger designs. The procedure makes use of the Bell-Delaware design method.

Keywords: Projeto rápido de trocadores de calor, perda de carga em trocadores de calor / short-cut heat exchanger design,  pressure drop in heat exchangers.