COB265	DETERMINAÇÃO EXPERIMENTAL DA EMISSIVIDADE DE UM TROCADOR DE CALOR DE BAIXA POTÊNCIA TÉRMICA / EXPERIMENTAL DETERMINATION OF THE EMISSIVITY OF A LOW THERMAL POWER HEAT EXCHANGER

Alan C.B. Rocha, George S. Marinho, Leônidas Hildebrand Jr., Renê A. Carvalho*

* Instituto de Física de São Carlos. Departamento de Engenharia Mecânica, Escola de Engenharia de São Carlos - EESC / USP. Av. Dr. Carlos Botelho, 1465- São Carlos - SP - Brasil. CEP - 13560-250.

The emissivity of a flat plate type heat exchanger was experimentally determinated by means of a compared temperature method. Two kinds of surface finishing were studied: naked aluminum, and black painted. In both situations, the plate was submited to three heating power regimes: 8.7, 24.5 and 47.9W, which correspond to surface temperatures of aproximatelly 45, 70 and 120oC, respectivelly. The temperature distribution was measured by means of an infrared pyrometer and by thermocouples. By adjusting of the emissivity selector of the pyrometer the plate emissivity was determined.

Keywords: Emissivity, heat exchanger, natural convection, pyrometer, thermal radiation. Emissividade, trocador de calor, convecção natural, pirômetro, radiação térmica.