Cob1188	GERACÃO DO TERMO FONTE A PARTIR DA TRANSMISSÃO DA RADIAÇÃO ÓPTICA EM TECIDOS HETEROGÊNEOS/EVALUATION OF THE HEAT SOURCE THROUGH OF THE RADIATION OPTICAL TRANSMISSION IN HETEROGENEOUS TISSUES

Paulo M. C. Gomes e Tarcísio P. R. Campos

Departamento de Engenharia Nuclear, Escola de Engenharia - UFMG

Av. do Contorno 842, 9° Andar, Centro - Belo Horizonte, MG, CEP: 30.110 - 060 E-mail: foton@cce.ufmg.br

The application of the optical spectrum on medicine has been increasing. The relevance of optical properties of laser radiation on tissues and their thermodynamic consequences are extremely important to understand and optimize surgical process. In this context, analytical and computational models for photons transport on tissue joined to the heat transport through tissue are required. A simplified model of tridimensional photons transport is proposed with the goal of setting up a methodology of photons flux calculus inside a tissue with high scattering coefficient.

Keywords: Laser, Photons Transport, Heat Transport, Finite Element, Tissue/Laser, Transporte de Fótons, transporte de Calor, Elementos Finitos, Tecido.