COB324	ESTIMADOR DE UMA FUNÇÃO OBJETIVO DE CORRELAÇÃO NA MEDIÇÃO SIMULTÂNEA DE PROPRIEDADES TÉRMICAS / SIMULTANEOUS THERMAL PROPERTIES ESTIMATION USING A CORRELATION OBJECTIVE FUNCTION ESTIMATOR

Sandro M. M. de L. e Silva, Gilmar Guimarães & Marcus A.V. Duarte

Departamento de Engenharia Mecânica, Universidade Federal de Uberlândia - UFU - Uberlândia

CEP 38400-902 Uberlândia, MG, Brasil - E-mail: gguima@ufu.br, metrevel@ufu.br

This paper describes an experimental technique to measure simultaneously the thermal diffusivity and thermal conductivity of nonmetallic materials. Thermal properties are estimated by using parameter estimation techniques with measured surface heat flux and temperature histories on only one surface of a perspex sample. In addition the golden section optimization technique is used with the parameter estimation for minimizing two different objective functions. Each of the thermal properties is estimated in a different way. The diffusivity estimation uses a correlation function estimator between the heat flux and temperature while a square function error of experimental and estimated temperatures is the objective function used for determining the conductivity. A comparison with the guarded hot plate method indicates a deviation of 2.1% of the thermal conductivity.

Keywords: Estimação de Parâmetros, Medição de Propriedades Térmicas, Condução, Problemas Inversos, Otimização. Parameter Estimation, Thermal Properties Measurements, Heat Conduction, Inverse Problems, Optimization.