COB1300	POWER GENERATION SYSTEMS USING FLUIDIZED BED COMBUSTION AND GASIFICATION

Nikolai Khartchenko

Institute for Energy Engineering, Technical University of Berlin.

Marchstr. 18, 10587 Berlin, Germany - E-mail: nik@buran.fb10.tu-berlin.de

The two types of pressurized fluidized bed combustors (PFBC), the bubbling PFBC and the circulating PCFBC plants, are now undergoing further development with the aim to increase efficiency, reduce emissions, improve availability, and thus to facilitate the commercialization of this technology. This paper reviews the progress and highlights the problems in the development of hybrid cycle power plants based on pressurized fluidized bed combustion and gasification. Hybrid cycle power plants show significant improvement in energy conversion efficiency, and essential reduction in SO2 and NOx emissions. They have higher efficiency than integrated gasification combined-cycle power plants. The second generation PFBC coal plants target 50 % efficiency.

Keywords: Pressurized fluidized bed combustor, hybrid cycle power plant, HGCU, emissions control