COB903	CONFIGURAÇÃO DE SISTEMAS DE COGERAÇÃO CONSIDERANDO A SENSIBILIDADE DO INDICADOR DE VIABILIDADE / CONFIGURATION OF COGENERATION SYSTEMS CONSIDERING THE VIABILITY INDICATOR SENSIBILITY

André Ramon Silva Martins & Luiz Augusto Horta Nogueira

Departamento de Engenharia Mecânica, Escola Federal de Engenharia de Itajubá - EFEI - Itajubá

CEP 37.500-000 Itajubá, Brasil - E-mail: amartins@iee.efei.rmg.br

Cogeneration has been appointed as an important alternative to supply the increasing demand of electricity in Brazil. Even tough this technology presents high thermodynamic efficiency, not always is economically merited, depending basically on the load factor and fuels and electrical energy prices. So it is worthwhile to develop good analysis tools for feasibility studies. In this paper one presents a improved methodology to evaluate the pay-back time of industrial cogeneration plants, determining the energy balance through convolution of thermal and electrical load curves and allowing to estimate the economic indicator in two scenarios. The difference of  pay-back time in these scenarios can be used as risk indicator of a particular cogeneration configuration, assisting the decisor to select the proper capacity and best level of supplementary heat to be adopted.

Keywords: Cogeração, Modelagem Térmica, Otimização de sistemas Térmicos. / Cogeneration, Thermal Modelling , Thermal Systems Optimisation