COB1431	ANALYSIS AND DIAGNOSIS OF THE OPERATION PERFORMANCES OF A STEAM POWER PLANT

Andrea Lazzaretto1, Alarico Macor1, Alberto Mirandola1, Anna Stoppato1 & Franco Donatini2

1Department of Mechanical Engineering, University of Padova - via Venezia, 1

35131 Padova, Italy - E-mail: mira@ dim.unipd.it

2 ENEL S.p.A. - Thermal Research Center - via Andrea Pisano, 120 - 56122 Pisa, Italy

## A new exergetic and exergoeconomic method for the diagnosis of energy systems operation is presented and discussed. The calculation of suitable indicators, showing the deviations of the fuel consumption from the expected one, helps the analyst or the operator identify the machines or the devices responsible for the malfunction and those “victims” of the malfunction itself. The method, applied to a big-size steam power plant, proved to be useful in locating the origin of malfunctions and their effects on the overall performances; anyhow, it is shown that some experience is needed by the operator, because the results must be interpreted in the light of both the knowledge of the plant operation and the theoretic bases of the diagnostic procedure suggested by the authors.

Keywords: On line diagnosis, exergy analysis, exergoeconomic analysis, computer code