COB1430	ANÁLISE TÉRMICA E ECONÔMICA DE TURBINA A GÁS DE CICLO ÚMIDO/ THERMAL AND ECONOMIC ANALYSIS OF THE HUMID AIR TURBINE CYCLE

Marcos Vinicius Ribeiro Franco, Marco Antônio R. Nascimento & Luiz A. Horta Nogueira

Escola Federal de Engenharia de Itajubá- EFEI, Av. B.P.S. 1300, Itajubá, MG, CEP 37500-000 - E - mail: marco@iem.efei.rmg.br

This work presents thermodynamics simulation and economic analysis of the Humid Air Turbine cycle (HAT) operation. In this cycle hot water from intercooler and recuperator is mixed with air from the compressors in the evaporator, it is then sent to the gas turbine combustion chamber and expanded along with the combustion gases. A computer program was developed to simulate the thermodynamics behaviour on design point given by  the specific fuel consumption, thermal efficiency and specific net work as function of turbine entry temperature and overall pressure ratio.  After thermodynamics simulation, an economic analysis was carried out for  power plant of 30MW with fuel cost of 3,5 US$/GJ, which presented energy generation cost as a function of the load factor of power plant for different interest rate and design philosophy. The return rate  of investment has been calculated taking into account to sell energy at 60 US$/MWh. The economic parameters have indicated  that economic viability of the investment, in scenery where electric energy cost is sold, is over 60 US$/MWh. In addition, the results of the HAT have been compered to those of Simple Cycle, Combined Cycle, Steam Injected Gas Turbine and Intercooled Steam Injected Gas Turbine.

Keywords: Thermal Power System, the Humid Air Turbine cycle, Economic Analysis of Thermal System,

Ciclos de potência, Ciclos HAT, Análise Econômica de Sistemas de Potência