COB762	ANÁLISE NUMÉRICA DO ESCOAMENTO EM DUTOS COM ALETAS TRANSVERSAIS / NUMERICAL ANALYSIS OF FLOW THROUGH TRANSVERSAL FIN DUCTS

Cláudia Regina de Andrade e Edson Luiz Zaparoli

CTA - ITA - IEM - Departamento de Energia - E-mail: zaparoli@mec.ita.cta.br

A numerical study was performed on the augmentation of the heat transfer for internal flow through flat plates containing transversal fins. The duct width and the fins spacing were kept constant and 17 fins were affixed along the heated plate side. Two fin heights were simulated and the heat transfer rate was compared with the smooth duct case. Numerical results obtained for  the mean heat transfer coefficients and experimental data showed good agreement.  Also reported was the grid refinement  effect on the numerical solution accuracy.

Keywords: Dinâmica de Fluidos Computacional/Computational Fluid Dynamics, Escoamento Turbulento/Turbulent Flow, Aletas/Fins, Intensificação da Transferência de Calor/Enhanced Heat Transfer.