COB497	DESIGN OF AN EIGHT-STAGES CASCADE IMPACTOR FOR THE CLASSIFICATION OF AIRBORNE PARTICLES

Marcos Sebastião de Paula Gomes

Dept. de Eng. Mecânica, Pontifícia Universidade Católica do Rio de Janeiro, DEM/PUC-Rio

CEP 22453-900, Rio de Janeiro, RJ, Brasil - E-mail: mspgomes@mec.puc-rio.br

The work describes the design of a prototype eight-stages cascade impactor, capable of classifying airborne particles with sizes in the range of aerodynamic diameters between 17 and 0.5 microns, while operating with a nominal flow rate of 30 liters/minute. A summary of the theory involved in the project of such devices is also presented. The collection surfaces accommodate 37 mm substrates which may be of different materials (e.g. filter media, aluminum foil), depending on the application of interest. The design is optimized for reducing inter-stage particulate losses, and the instrument may be used in the separation of inhalable PM10 particulate (Particulate Matter 10 microns cut off size). It is also flexible enough for permitting the operation with different sets of nozzle diameters, accepting a diverse selection of cut off sizes.

Keywords: Aerosol Technology, Instrumentation, Air Pollution, Atmospheric Aerosols, Environmental Assessment.

Tecnologia de Partículas, Instrumentação, Poluição do Ar, Aerossóis Atmosféricos, Avaliações Ambientais.