COB200	VIBRAÇÕES INDUZIDAS PELO DESBALANCEAMENTO DE UM VENTILADOR CENTRÍFUGO, SOB INFLUÊNCIAS DE UMA FUNDAÇÃO EMBUTIDA E DOS MANCAIS COM FILME DE ÓLEO / FOUNDATION AND JOURNAL BEARINGS  CONSIDERATIONS IN THE VIBRATION INDUCED BY UNBALANCED CENTRIFUGAL FAN.

Luciana Raquel C. da Silva, Alexandre Augusto Simões

Departamento de Engenharia Mecânica, Escola Federal de Engenharia de Itajubá - EFEI - Itajubá CEP 37.500.000, Brasil - E-mail: simoes@iem.efei.rmg.br

This paper presents a simplified dynamic interaction analysis of a fan supported by journal bearings and its foundation. The interaction changes the rotor-bearing critical speed and so the fan manufacturer may specify the foundations requirements or an improper foundation would result. The same will occur to the predicted resonance frequencies to the foundation-soil interaction. So this procedure can help the understanding between the fan manufacturer and the designer of the foundation. The simplified model is of minimal time consuming and is convenient during the early project. The bearing data, obtained from computerized solutions of the lubrication equations, and the soil dynamics data are used as input to the model. The unbalance response of the entire system is consider as measured at the bearings.

Keywords: ventilador, mancal, fundação, foundation, fan.