COB282	CAVITATION DETECTION IN HYDROTURBINES USING NEURAL NETWORKS

Shih Man Lin, João Souza Neto, Antonio C. P. Brasil & Danilo Santos

Univ. de Brasília/FT/Dpto. Eng. Mecânica, Campus Universitário, Asa Norte, CEP 70910-900 Brasilia/DF.  Email:manlin@enm.unb.br

This paper refers to the development of a methodology to detect cavitation in hydroturbines using a neural network strategy.  Both experimental tests and theoretical analysis were carried out.  Initially, the methodology of mapping the cavitation regimes in Francis turbines was proposed and tested.  The neural network reproduced satisfactorily the different types of cavitation.  A real scale experiment was also performed in a 160 MW Francis Turbine in operation at the electric power station in Ilha Solteira/São Paulo (CESP).  Acoustic sensors were used to perform preliminary tests on cavitation radiated noise, in order to detect cavitation for different conditions of turbine operations.  The neural network methodology was also proposed to analyze these experimental data.  A description of laboratory facilities and some results obtained up to this moment can also be found in this paper.

Keywords: Cavitation, TurboMachinery, Neural Networks and Neuro-Genetic Systems/Cavitação, Máquinas Hidráulicas, redes neurais e sistemas neuro-genéticos