COB1007	FONTES DE ERROS NA MEDIÇÃO DA TEXTURA SUPERFICIAL COM ESTILETE E COM SONDA ÓPTICA / SURFACE TEXTURE MEASUREMENT ERRORS SOURCES WITH STYLUS AND OPTICAL PROBES

Lourival Boehs*, Luciano Bet** & Gustavo Renê Mostiack*

*Departamento de Engenharia Mecânica - Centro de Tecnologia - UFSC,

Caixa Postal 476 - 88040-900 - Florianópolis/SC - Brasil - E-mail: lb@grucon.ufsc.br

**Departamento de Engenharia Mecânica - Centro de Tecnologia - UFRN

Caixa Postal 1657 - 59072-970- Natal/RN - Brasil - E-mail: bet@leca.ufrn.br

Many different systems of roughness measurement are avaiable today. Although the modern instruments are very sophisticated, still exist many sources and kinds of error in surface texture measurement. Most important sources of errors are those related with the measurement instruments as well as the enviroment they are being used. Only stylus and optical follower instruments would be discussed here. These instruments represent one that are being used in most of the laboratories and industries that handle surface texture meaurement. Because of the growing interest in the relationship surface texture/technological function, it is vital to improve the methods in order to find out and eliminate the measurement errors or at least minimise their effects. The scope of this paper is to present the most important sources of errors in surface texture measurement and to propose ways to eliminate or minimize their effects in the measurement results.

Keywords: Surface Texture - Measurement - Stylus - Optical Follower - Errors / Textura Superficial - Medição - Estilete - Sonda Óptica - Erros