# COB1067	BENEFICIAMENTO DO QUARTZO NATURAL BRUTO: CONSTRUÇÃO DE INSPECTOSCÓPIO E ORIASCÓPIO/PROCESSING OF RAW NATURAL QUARTZ: CONSTRUCTION OF INSPECTOSCOPY AND ORIASCOPY

Henara L. Costa, Rafael A. Gonçalves & José Daniel B. de Mello

Laboratório de Tribologia e Materiais, Departamento de Ciências Físicas - UFU

38400 901 - Uberlândia - MG - E-mail: ltm-henara@ufu.br

Raw natural quartz is mainly used by electronic industries in resonators and pre-defined frequency generation high precision devices. Quartz crystals with adequate quality and size are significantly found only in Brazil, including Minas Gerais state. The present paper aimed the implementation of a laboratorial infrastructure to aid the qualification of natural quartz. In a first phase, an equipment that determines the optical axis of the crystals in order to allow its posterior precise orientation with X-ray techniques was constructed. This equipment, named inspectoscopy, aid also the inspection of raw crystals about macro-defects as color, cracks, twins and inclusions. In a second step, an oriascopy was constructed. This equipment allow the initial determination of X and Y axis and the detection of electrical twins in conveniently etched quartz plates. The oriascopy also allows to determine if the crystal is right-handed or left-handed. The development of this phase was associated to sulfuric acid etching techniques. The precision cutting of the plates used a diamond-wheel cutting machining. Both inspectoscopy and oriascopy are operational and the obtained results are satisfactory.

Keywords: Quartz, inspectoscopy, defects, chemical etching, cutting.