COB219	FILOSOFIA DE  PROJETO E AVANÇO TECNOLÓGICO NO DIMENSIONAMENTO DOS EQUIPAMENTOS ELETROMECÂNICOS PARA A EXPANSÃO DA UHE TUCURUÍ

Mário Dias Miranda, José Adalberto Lage Calainho, Carmo Gonçalves e Wandyr  Ferreira

ELETRONORTE - Superintendente de Expansão da Geração – Tel: (061) 212-6042 / 212-5753

SCN-Q. 06-Conj. A- Bl. B, Sala 506 – Brasília-DF – CEP 70710-000 – Fax: (061) 321-3958

This work has the finality to show the project’s philosophy, calculation methods and the achieved results on the disign of TUCURUI Hydropower Station, second stage construction, composed by 11 (eleven) generation units (Francis Turbine with vertical shaft 382 MW per unit and Generator with 395 MVA per unit) and  also to show the technologic advances obtained comparing its results with the 12 (twelve) units (Francis Turbine with vertical shaft a 320 MW per unit, and Generator with 350 MVA per unit), operating since 1984  and the cost reduction due to  the use of some equipments installed in the first stage construction as: overhead travelling crane, travelling crane, trashrack  machine, etc.

Keywords: Turbina Francis, Tucuruí, Evolução Tecnológica, Estado da Arte - Projeto.