COB1154	AN INTEGRATED CONTROL STRUCTURE FOR SURGICAL ASSIST ROBOTICS FOR LAPAROSCOPY

A.P. Slade,* J.R. Hewit,* A. Cuschieri, T. Frank

*Department of Applied Physics, Electronic and Mechanical Engineering, University of Dundee, Dundee,

Scotland, DD1 4HN. U.K. E-mail: A.P.Slade@dundee.ac.uk J.R.Hewit@dundee.ac.uk

Ninewells Hospital, Department of Surgery, Dundee, Scotland, DD1 9SY. U.K.

E-mail: A.Cushieri@dundee.ac.uk T.G.Frank@dundee.ac.uk

Minimal Access Surgery, commonly known as keyhole surgery is revolutionising surgery and has been established as a major complement to open surgery. Its growing popularity in recent years, with both patients and surgeons, is due to the numerous advantages it offers over conventional surgery. These include small access wounds (typically 5 or 10 mm in diameter), no forceable retraction of tissue or organs, shorter recovery times and smaller scars. However, these must be balanced by the increased complexity leading to longer operating times and the need for even skilled surgeons to undergo special training in minimal access techniques. The problems of Minimal Access Surgery can be reduced by using robotic systems and intelligent control and interface techniques. In this paper, the authors describe a fully integrated control structure, with three different command and control input systems, which is used to control a compact six degree of freedom surgical assist robot.

Keywords: Telemanipulator; Surgical Robotics; Endoscope; Voice control; Integration