COB1492	MODELAGEM, SIMULAÇÃO E RESULTADOS DE UM EXPERIMENTO DE CONTROLE DE UMA UNIDADE TÉRMICA/MODELING, SIMULATION AND RESULTS FOR A THERMAL UNITY CONTROL EXPERIMENT

Agenor de Toledo Fleury+·, Jefferson Eduardo Gizzi·à, Hilário Marcos Koyama·à, Marcelo Luís Alves Fernandez·à, Marcos Andrade da Silva·à & Marcos Ribeiro de Castro·à

+Agrupamento de Sistemas de Controle, Divisão de Mecânica e Eletricidade - IPT

Caixa Postal 0141 - CEP 01064-970 São Paulo, SP, Brasil - E-mail: agfleury@ipt.br

·Departamento de Engenharia Mecânica, Escola Politécnica - USP

Av. Prof. Mello Morais, 2253 - CEP 05508-901 São Paulo, SP, Brasil, àBolsistas de Iniciação Científica, Programa PET/CAPES

This work shows the development of an experiment implemented at a Control Systems Laboratory focusing Mechanical Engineering students. The objetives to be achivied with this equipment are to reinforce the importance of good dynamic models and to point out the limitations of the control system design in the absence of a compatible dynamic model. The thermal unit is an aluminum box with removable internal chicanes to modify internal air flow, and covered by an acrilic window, where, trough the use of heaters and a small fan,internal prescribed temperatures must be maintained at given levels. As the thermal unit has a distributed parameter system behavior, lumped parameter models allow just mean temperature control very far from the control objective. The paper begins calling attention to the question of control education for Mechanical engineers, shows the design and simulated and experimental control results achieved with lumped parameter models to describe the thermal unity behavior and analyes modifications to be introduced in the experiment in order to get more realistic results.

Keywords: Control systems, Thermal control Systems, Laboratory experiments, Mechanical Engineering Education