COB228	ALTA PRECISÃO DE MOVIMENTO E MEDIÇÃO ATRAVÉS DE RECURSOS MECATRÔNICOS / HIGH MOTION AND MEASUREMENT ACCURACY BY MECHATRONICS

Oswaldo Horikawa

Departamento de Engenharia Mecânica, Escola Politécnica da Universidade de São Paulo - EPUSP

CEP 05508-900 São Paulo, SP, Brasil - E-mail: ohorikaw@usp.br

The purpose of this work is to show by two examples, that mechatronic techniques, i.e., the combined use of conventional mechanical technology with control, sensoring, actuation technology and technology related to the electronics and application of computer, it is possible to obtain devices and measuring processes of higher accuracy, or with the same accuracy of conventional one but with a lower cost. One example deals about a controlled type air bearing that by using a piezoelectric actuator, a non-contacting sensor and a controller can activelly reduce rotation errors of the axis due to disturbance forces or profile error of bearing parts, achieving an infinite static stiffness and nanometer order motion accuracy. The second example is about a method to  measure roundness of objects with a accuracy higher than that of the rotary mechanism used in the measurement.

Keywords: Mechatronics, air bearing, active bearing, motion accuracy, measurement accuracy / Mecatrônica, mancal a ar, mancal ativo, precisão de movimento, precisão de medição.