COB969	estabilização em sensores posicionais piezométricos digitais de baixo custo / STABILIZation IN LOW COST DIGITAL PIEZOMETRIC POSITIONAL SENSORS

Nicola Getschko & Roberto Keller Naddeo

Departamento de Engenharia Mecânica, Escola Politécnica-USP - CEP 05508-900

Av. Prof. Mello Moraes 2231, Cidade Universitária — São Paulo, Brasil

Departamento de Matemática — Centro das Ciências Exatas - PUC-SP -  CEP 01303-050

Rua Marquês de Paranaguá, 111 —— São Paulo, Brasil

E-mail: ngetschk@usp.br, nicolag@exatas.pucsp.br, rnaddeo@usa.net

This paper presents a new piezometric positional sensor stabilising system which is based on a software platform, instead of the conventional viscous and/or magnetic damping efftects. The software has been designed to be used both in IBM-PC compatible micro-computer, using DOS environment, or in dedicated micro-processor circuits. A complete comparative analysis, by means of a case study,  with the viscous and magnetic damping has been made and the results have shown the software damping system - SDS - using advantages. A resolution of 0.5 degrees, with a 0.5 s time response and 99% repeatability has been reached by the SDS.

Keywords: damping, pendulum, position, sensor, magnetic, viscous, amortecimento, pêndulo, posição, sensor, magnético, viscoso