COB421	Proposta de uma ferramenta automática de programação de CPs a partir de modelos MFG/ a proposal of an automatic tool for programming pcs from mfg models

Diolino J. Santos Filho & Paulo Eigi Miyagi

Departamento de Engenharia Mecânica/Mecatrônica, Escola Politécnica da USP

CEP:05508-900, São Paulo, SP, Brasil - E-mail: diolinos@usp.br    pemiyagi@usp.br

The use of Programmable Controllers (PC) is one efficient way to realize the automation of industrial plants. In this context, is very important the existence of a tool to program the controllers in a rational, sistematic and efficient mode. In this context there are several works that confirm that Petri net is a efficient technique to model and analyse discrete event systems and, its derivation, the Mark Flow Graph (MFG) is a technique suitable to realize the control strategies. In the current paper, we introduce an approach based on analysis and validation of the MFG model of the control system (with a MFG simulator, for example) that is translated to an apropriate program language of comercial controllers such as STEP5 (that is a program language used in Siemens’ PC). The focus is on the translator tool concept. With this tool is possible to develop structured STEP5 programs to PC that ensure the inexistence of bumping and deadlock problems.

Keywords: Programmable controllers, Programming Language, Sequential control, Petri nets, Mark Flow Graph