COB168	IDENTIFICAÇÃO E CONTROLE DE PROCESSOS ATRAVÉS DE ALGORITMOS GENÉTICOS E ESTRATÉGIAS EVOLUTIVAS / IDENTIFICATION AND CONTROL OF PROCESSES VIA GENETIC ALGORITHMS AND EVOLUTION STRATEGIES

Leandro dos Santos Coelho & Antonio Augusto Rodrigues Coelho

Departamento de Automação e Sistemas, UFSC, Caixa Postal 476

CEP 88040.900 Florianópolis, Brasil -E-mail: {lscoelho; aarc}@lcmi.ufsc.br

In this paper, several evolutionary computation paradigms in process identification and control are utilized. The following methodologies are addressed: i) genetic algorithms (with floating point representation), ii) hybrid algorithms composed by genetic algorithms with simulated annealing, and iii) evolution strategies (without and with self-adaptation mechanisms). Experiments in identification were conducted in mono-tank level and temperature processes. Experimental control tests were evaluated in a non-linear level process, composed of coupled twin-tanks, which was submitted to reference change and load disturbance. In this control implementation, the evolutionary computation paradigms are utilized for tuning of the design parameters of a monovariable PID controller.

Keywords: Genetic Algorithms, Evolution Strategies, Process Identification, Process Control, Practical Application / Algoritmos Genéticos, Estratégias Evolutivas, Identificação de Processos,  Controle de Processos, Aplicação Prática.