COB890	A LOW-COST PROBE TO MEASURE THREE MEAN VELOCITY COMPONENTS

Marco S. A. Veludo Gouveia, Jorge A. C. Chaves and André L. Amarante Mesquita

Departamento de Engenharia Mecânica, Centro Tecnológico, Universidade Federal do Pará - CEP 66.075-900 Belém - PA, Brasil

E-mail: gtdem@amazon.com.br

This paper presents the development of a low cost multihole probe to measure three dimensional flow-fields. Details of the construction of this probe are presented as well as the material used to construct the probe. The calibration method avoids the difficulties of nulling or pressure balancing, as the flow quantities are related to the hole pressures by calibration. Experimental procedures and results are demonstrated.

Keywords: Flow Measurement / Four-Hole Probe / Five-Hole Probe