COB662	TRANSDUTOR CAPACITIVO PARA MEDIDAS DE FRAÇÃO DE  VAZIO EM ESCOAMENTOS BIFÁSICOS. PARTE I: MODELAGEM E SIMULAÇÃO / CAPACITIVE TRANSDUCER FOR VOLUME FRACTION DETERMINATION IN TWO PHASE FLOW. PART I: MODELING AND SIMULATION.

Mauro Speranza Neto

Departamento de Engenharia Mecânica - PUC-Rio - E-mail: msn@mec.puc-rio.br

This paper shows the dynamic modeling and simulation of a two phase flow capacitive transducer. This device, coupled to AC bridge, is used to flow measurements in petroleum industry and it has good characteristics of electrical sensitivity and low cost. A mathematical model for the capacitive transducer and the complementary electrical circuit was developed and simulated with a commercial simulation program aiming the specification of its components and the analysis of the system behavior under several solicitations.

Keywords: Sistemas Dinâmicos, Instrumentação, Medidores de Vazão, Transdutores Capacitovos, Medidas em Escoamentos Bifásicos. Dynamic Systems, Instrumentation, Flow Meters, Capacitive Transducers, Two Phase Flow Measurements