COB663	TRANSDUTOR CAPACITIVO PARA MEDIDAS DE FRAÇÃO DE VAZIO EM ESCOAMENTOS BIFÁSICOS. PARTE II: CONSTRUÇÃO DO  PROTÓTIPO E TESTES EXPERIMENTAIS / CAPACITIVE TRANSDUCER FOR VOLUME FRACTION DETERMINATION IN TWO PHASE FLOW. PART II: PROTOTYPE CONSTRUCTION AND EXPERIMENTAL TESTS.

Mauro Speranza Neto1, Jorge Dias Lage2, Marcelo de Albuquerque Lima Gonçalves3 e Cláudio Barreiros da Costa e Silva4

1Departamento de Engenharia Mecânica - PUC-Rio - E-mail: msn@mec.puc-rio.br

2Instituto Tecnológico - PUC-Rio - E-mail: jlage@venus.rdc.puc-rio.br

3 e 4 PETROBRÁS/CENPES - DIPLOTE/SEPROTE - tel: (021) 5986548 - fax: (021) 5986798

This paper shows the construction and calibration procedures of a two phase flow capacitive transducer. This device, coupled to AC bridge, is used to flow measurements in petroleum industry and it has good characteristics of electrical sensitivity and low cost, but it is very sensitive to the ambient pressure and temperature fluctuations and to magnetic fields too. We show how to insulated this transducer and keep it stable under these adverse conditions.

Keywords: Sistemas Dinâmicos, Instrumentação, Medidas de Escoamento, Transdutores Capacitivos, Medidas em Escoamentos Bifásicos. Dynamic Systems, Instrumentation, Flow Meters, Capacitive Transducers, Two Phase Flow Measurements