# COB527	wo-Phase Flow Tomography Using a 8-Electrode Electrical Capacitance Sensor

Luiz Felipe Mendes de Moura, Flavio Tambellini & Francisco Antonio Belo*

Departamento de Engenharia Térmica e de Fluidos, Faculdade de Engenharia Mecânica - UNICAMP/FEM  CEP 13.083-970  Campinas, Brasil - E-mail: felipe@fem.unicamp.br

*Centro de Tecnologia, Universidade Federal da Paraíba - UFPb/CT  João Pessoa, Brasil

This paper describes an electrical capacitance tomography (ECT) system for imaging of two-phase flows. The capacitance sensor was built with eight electrodes around an insulating pipe. In the proposed capacitance measurement system, when an electrode is an emitter, the seven other electrodes are receivers, leading to a parallel reading tomography type. For a 8-electrode sensor, there are 28 independent readings. In order to improve the measurement system time response, a new electronic transducer was developed that supports excitation frequency up to 10 MHz. The proposed ECT system was tested for both stratified and annular air-water flows. A linear back projection algorithm was used to reconstruct the cross section image of the two-phase flow from the measured capacitance values. The reconstructed flow images obtained using this algorithm were compared to the real two-phase flow distributions. Filtering techniques were applied to the back projection algorithm in order to improve the reconstructed flow image quality. Limitations and possible future improvements of this technique are also discussed.

Keywords: Two-phase flow, Tomography, Capacitance sensor