COB 153 	MEASUREMENT OF RESIDUAL STRESSES BY THE INCREMENTAL HOLE-DRILLING TECHNIQUE USING THE TRANSMISSION FUNCTION METHOD

Gerard Chalant, Sylvie Idrissi, Theophile Mehinto

Laboratoire "MŽcanique, MatŽriaux, Environnement", FacultŽ de Technologie de Guyane UniversitŽ des Antilles et de la Guyane BP. 792, F-97337 CAYENNE cedex, Guiana Francesa, E-mail : gerard.chalant@univ-ag.fr

Residual stress state may exist in a large variety of mechanical parts of industrial  mechanisms and is very common. The origins of this residual stress state are numerous and are mainly due to material elaboration processes and to body part shaping. Residual stress state must be well known in order to be able to make a proper calculation of mechanical  resistance of the body part. Several experimental methods exist so that  residual stress state determination can be performed. Those methods are surface ones (X-ray diffraction technique) or destructive and restricted to uniform stress states (hole-drilling technique). Methods suitable for determining stress gradient have been derived from hole-drilling technique but usually complex calculations are requested for this purpose. The method presented here is based on a normalized unique experimental strain variation function called Transmission Function. Once determined, this function allows easy step by step calculation of the stress gradient.

Keywords: Residual Stresses, Hole-Drilling Technique, Stress Gradient, Incremental Method, Transmission Function