COB1448	DESENVOLVIMENTO DE UM SENSOR POROSO CAPACITIVO PARA MEDIÇÃO DE UMIDADE NO SOLO / DEVELOPMENT OF A POROUS CAPACITIVE SENSOR FOR MEASURING OF GROUND HUMIDITY

Ramos Pinto, C. A. & Biage, M.

Departamento de Engenharia Mecânica - Universidade Federal de Uberlândia

Campus Santa Mônica - CEP 38400-903 - Uberlândia - MG - E-mail: carlosra@ufu.br

In this study was developed a capacitive sensor to measure the relative water mass present in the soil. The sensor is based in the ground water diffusion into dieletric material, where the capacitance of the sensor is representing the ground relative water mass variation. The low influence of the ground condutivity and temperature in de measurements using this method justify the use of this tecnics. Many geometrical dimensions were used in the preliminary measurement tests and the sensor with the best geometrical characteristics was built. Two sensors were used in the experiments. In the first, the dielectric was built with gypsum and the second with porous stone. These instrumens were experimented and calibrated with a balance to measure the ground relative water mass variation. Plots, for electric tension versus ground relative water mass and capacitance versus ground relative water mass were designed.

Keywords: Ground Humidity (Humidade de solo). Humidity Measurement (Medição de humidade). Capacitive Sensors (Sensor capacitivo). Irrigation (Irrigação). Instrumentation (Instrumentação).