COB352	CALIBRAÇÃO SEMI-AUTOMÁTICA DE BALANÇAS PARA TÚNEIS DE VENTO EMPREGANDO REDES NEURAIS ARTIFICIAIS/ SEMI-AUTOMATIC CALIBRATION OF WIND TUNNEL BALANCES USING ARTIFICIAL NEURAL NETWORKS

Laurizete s. Camargo & Takashi Yoneyama

Divisão de Engenharia Eletrônica, Instituto Tecnológico de Aeronáutica - ITA

CEP 12.228-900 São José dos Campos - Brasil - e-mail: takashi@ita.cta.br

This work is concerned with a semi-automatic calibration procedure using artificial neural networks for wind tunnel balances. The adopted structure is suited to a large variety of wind tunnel balances, from one to six degrees of freedom. The proposed procedure was applied to a piramidal balance with six components, installed at the windtunnel TA-2 of Centro Técnico Aeroespacial. The estimates of the aerodynamic loading that appear on the test model are obtained directly as the output of an artificial neural network.

Keywords: Neural Networks, Non-Linear Identification, Instrument Calibration , Windtunnel, Balance, Redes Neurais, Identificação Não-Linear, Calibração de Instrumentos, Túnel de Vento, Balança.