COB972	SISTEMATIZAÇÃO DA ANÁLISE DE ERROS NA MULTIPLEXAÇÃO AUTOMATIZADA COM TRANSDUTORES PIEZOELÉTRICOS CONVENCIONAIS / SYSTEMATIZATION OF THE ERROR ANALYSIS IN THE AUTOMATED MULTIPLEXATION EMPLOYING CONVENTIONALS PIEZOELECTRIC TRANSDUCERS

Martim Blank1 & Carlos Alberto Flesch2

1 - Departamento de Tecnologia, Universidade Regional do Noroeste do Estado do Rio Grande do Sul, Campus Panambi - UNIJUÍ

Cx. Postal: 14 - CEP 98280-000 - Panambi/RS, Brasil - E-mail: blank@detec.unijui.tche.br

2 - Departamento de Engenharia Mecânica, Universidade Federal de Santa Catarina -UFSC

Cx. Postal: 5053 - CEP 88040-970 - Florianópolis/SC, Brasil - E-mail: flesch@emc.ufsc.br

In this work is presented a systematization of the error analysis due to the multiplexation in conventional piezoelectric transducers. The multiplexation can minimize instrumentation costs, but it is not common in these transducers. In the use of the multiplexation, measurement errors are increased. The analysis of these errors is more complicate because the conventional piezoelectric transducers quantify the output sign in electric charge. In this works is realized an error analysis employing equivalent electrical circuit models and parameters provided by manufacturers. The results demonstrate that the multiplexation can be advantageous but recommendations must be followed.

Keywords: Automed Measurement, Measurement Error, Piezoelectric Transducers, Acceleration Measurement, Multiplexion, Automação da Medição, Erro de Medição, Transdutores Piezoelétricos, Medição de Aceleração, Multiplexação.