COB973	ANÁLISE COMPARATIVA ENTRE ERROS METROLÓGICOS DECORRENTES DA MULTIPLEXAÇÃO AUTOMATIZADA OBTIDOS EM ANÁLISES TEÓRICA E EXPERIMENTAL / COMPARISON BETWEEN MEASUREMENT ERRORS FROM THE AUTOMATED MULTIPLEXION OBTAINED IN EXPERIMENTAL AND THEORETICAL ANALYSIS

Martim Blank1 & Carlos Alberto Flesch2

1 - Departamento de Tecnologia, Universidade Regional do Noroeste do Estado do Rio Grande do Sul, Campus Panambi - UNIJUÍ

Cx. Postal: 14 - CEP 98280-000 - Panambi/RS, Brasil - E-mail: blank@detec.unijui.tche.br

2 - Departamento de Engenharia Mecânica, Universidade Federal de Santa Catarina -UFSC

Cx. Postal: 5053 - CEP 88040-970 - Florianópolis/SC, Brasil - E-mail: flesch@emc.ufsc.br

In this work is realized a comparison  between results from experimental and theoretical analysis, in the automated multiplexation. In some applications, simultaneous measurements of  several mechanical magnitudes is necessary. The multiplexation can reduce instrumentation costs, allowing the use of only one conditioning unit for several transducers. But multiplexers have not ideal behaviour, so measurements errors are introduced in measurement chain. Analysis of these errors is critical due to lack of informations found in bibliography and provided by manufacturers. In this works is realized a theoretical analysis in multiplexers with relay and semiconductor switches. This analysis employed electrical equivalent models and parameters provided by manufacturers. The experimental analysis aimed to measure parameters of instruments and compare them with values supplied by manufacturers. By this way, it is evaluated the suitability of the electrical equivalent models. This works presents the modeling in the usual form and the results of experimental analysis.

Keywords: Data Acquisition Systems, Automated Measurement, Measurement Error, Multiplexation, Experimental Research, Sistemas de Aquisição de Sinais, Automação da Medição, Erro de Medição, Multiplexação, Pesquisa Experimental.