Cob190	DELIMITAÇÃO DO CAMPO DE UTILIZAÇÃO DE UM GERADOR PERIÓDICO DE PRESSÃO / DELIMITATION OF THE FIELD OF APPLICATION OF A PERIODIC PRESSURE GENERATOR

Alberto C.G.C. Diniz,  Fernando J. R. Neves & Danilo J. Santos

Departamento de Engenharia Mecânica , Universidade de Brasília, 70910-900  Brasília - DF - Brasil - E-mail: fernando@enm.unb.br

This presents recent results obtained for the characterization of a Periodic Pressure Generator developed for the dynamic calibration of pressure sensors and transducers in the range of up to 35 mbar, using a sinusoidal excitation signal. Continuing previous research on this pressure generator, the calibration procedures, and the dynamic characterization of the pressure generator were now done with the aid of a dynamic signal analyzer. Use of the analyzer showed that the operating range of the generator is larger than the results first presented indicated. On the other hand the reliability of the calibration procedure was increased, while the procedures themselves were simplified by the use of the analyzer.

Keywords: Instrumentação; Calibração; Metrologia Dinâmica; Sensores, Pressão / Instrumentation; Calibration; Dynamic Metrology; Sensors; Pressure