COB773	OPTIMIZATION OF A NATURAL GAS DISTRIBUTION SYSTEM

Wolff, Maria Cristina1 & Paulo de Barros Correia2

1Departamento de Matemática, Centro de Ciências Exatas e Naturais, UFPA - CEP 66.075-110 Belém, Pa - E-mail: cwolff@ufpa.br

2Departamento de Energia, Faculdade de Engenharia Mecânica, UNICAMP - CEP 13.100-000 Campinas, S.P. - E-mail: correia@fem.unicamp.br

Optimization problems which contain large embedded network structure arise in a wide range of practical applications. Specialized algorithms that capitalize on the graph structure can be developed to solve efficiently these problems. In this paper is described a study of the natural gas distribution system in the São Paulo region. The model developed for optimizing the operation system was structured as a nonlinear programming problem on network with nonlinear side constraints. The network can be represented by a graph whose nodes and arcs correspond to the consumers-points/city-gates and pipes, respectively. The objective is minimizing the pressures in the city-gates satisfying sets of continuity and flow constraints. For solving this problem exploiting the graph structure of the continuity equations it can be used the Lagrangian Relaxation method. An efficient code based on this method has been developed. Results and conclusions about the model developed for optimizing the operation system are reported.

Keywords: Natural Gas Distribution System, Nonlinear Network with Side Constraints, Lagrangian Relaxation Method, Subgradient Method.