COB310	BAYESIAN INFERENCE FOR PLANT DATA RECONCILIATION SYSTEMS

Eugene Uwimana

Departamento de Engenharia Mecânica, Universidade Federal  de Uberlândia,

CEP 38.400-902 Uberlândia-MG, Brasil- E-mail: uwimana @ufu.br

In the present work, a new method based on the Statistical Bayesian Inference and the Maximum Likehood Principle is developped to analyse a set of measurements data in the presence of gross errors. It permits a rapid localisation, identification and correction of source of extremals using as criterion of optimization the satisfaction of energy and material equations. The new method allows to overcome the pratical limitations of previous works which attempted to deal with the problem. The proposed strategy proceeds in three levels. Statistical criteria are used to check whether the set of measurements contain gross errors. A bayesian inference technique and the maximum likehood principles are used to quantify and localize the gross errors. A new set of reconciliated plant measurements is calculated for estimation and optimization purposes.

Keywords: Data adjustment, gross errors, statistical inference,  thermofluid systems. Tratamento de dados, erros grosseiros, inferência estatística, sistemas termofluidos.